MUVIS Specifications

http://www.formulatrix.com/demosite/protein-crystallization/products/muvis/index.html#tabbed-nav=tab4

**Compatible Plate Types**

* SBS standard micro plate (127.8 mm x 85.5 mm x 14.4 mm)
* Hampton Microbatch
* LCP thin glass (127.8 mm x 85.5 mm x 1 mm)
* Linbro (150 mm x 108 mm x 22 mm)

**Physical Dimensions**

* Depth: 275 mm (11")
* Width: 268 mm (11")
* Height: 445 mm (18")
* Weight: 5kg (12 lb)
* Shipping weight: 15.5kg (34 lb)

**Electrical Specifications**

* 110-240 V, 50-60 Hz, 130 W typical, 200 W max. Standard or European outlet

**Computer Specifications**

* Windows 7 OS *(Not yet compatible with 64 bit operating systems.)*
* 2 open USB ports