**NT8 Specifications**

<http://www.formulatrix.com/demosite/liquid-handling/products/nt8/index.html#tabbed-nav=tab6>

**Physical Dimensions**

* Width: 653 mm (25.7")
* Depth: 511 mm (20.1")
* Height: 431 mm (16.9")
* Weight: 38 kg (83.8 lbs)

**Computer Specifications**

* Windows XP/Vista/7 OS
* 1 open USB port
* 1 GB RAM and 1 GB of HD space

**Electrical Specifications**

* 110-240 V, 50-60 Hz, 130 W typical, 200 W max. Standard or European outlet

To order more pipette tips (BrandTech PN 73102) contact BrandTech Scientific or your preferred lab products distributor.

**Temperature Functionality**

The NT8 has full functionality in cold room environments (4ºC).

**Waste/Wash Source Bottle Recommendations**

Formulatrix recommends a 2 liter or greater waste bottle for the system's wash station. It is recommended to have an even larger wash source bottle since the wash solution is used as the system liquid.