**NT8 Specifications**

<http://www.formulatrix.com/demosite/liquid-handling/products/nt8/index.html#tabbed-nav=tab6>

**Physical Dimensions**

* Width: 653 mm (25.7 in.)
* Depth: 511 mm (20.1 in.)
* Height: 431 mm (16.9 in.)
* Weight: 38 kg (83.8 lbs)

**Computer Specifications**

* Windows XP/Vista/7 OS
* 1 open USB port
* 1 GB RAM
* 1 GB hard disk space

**Electrical Specifications**

* 110-240 V, 50-60 Hz, 130 W typical, 200 W max. Standard or European outlet

To order more pipette tips, go to our online store.

**Temperature Functionality**

The NT8 has full functionality in cold room environments (4º C).

**Waste/Wash Source Bottle Recommendations**

Formulatrix recommends a 2 L or greater waste bottle for the wash station. It is recommended to have an even larger wash source bottle since the wash solution is used as the system liquid.